| Title: | Marine electrical lighting and control systems |
| --- | --- |
| Level: | 3 |
| Credit value: | 5 |
| Learning outcomes The learner will: | Assessment criteria The learner can: |
| Be able to construct and test of a range of marine lighting systems. | Construct and test a two way marine lighting system Undertake fault finding on a two way marine lighting system Construct and test a fluorescent lighting system Undertake fault finding on a fluorescent lighting system |
| Be able to undertake practical maintenance of electrical systems installed within hazardous area | Inspect hazardous area installations to ensure suitable choice of equipment with regard to presence of materials, zoning Install a hazardous area cable gland Inspect hazardous area installations to locate faults in condition or choice of equipment with regard to presence of materials, zoning |
| Be able to measure and calibrate instrumentation and control systems. | Measure the variable quantities of level, flow, temperature and pressure Measure the systems outputs that use open loop control systems Measure the systems outputs that use closed loop control systems Test the operation of devices that control level, flow, or pressure Set up programmable logic controller for a system that controls either level, flow, temperature and pressure |
| Additional information about the unit |  |
| Unit aim(s) | To provide the learner with the practical skills and procedures required to undertake duties as an Electro-technical Officer on board a merchant vessel. |
| Unit expiry date |  |
| Details of the relationship between the unit and relevant national occupational standards (if appropriate) | MNTB NOS C37, C41, C44 |
| Details of the relationship between the unit and other standards or curricula (if appropriate) | International Maritime Organisation (IMO) standards of training and certification for watchkeeping (stcw) requirements for an Electro-technical Officer at Operational level. |
| Assessment requirements specified by a sector or regulatory body (if appropriate) | Student work pieces to be retained for MCA Surveyor inspection |
| Endorsement of the unit by a sector or other appropriate body (if required) | Maritime and Coastguard Agency (MCA) |
| Location of the unit within the subject/sector classification system | Transportation |
| Name of the organisation submitting the unit | Scottish Qualifications Authority |
| Availability for use | Shared |
| Availability for delivery | September 2011 |
| Guided Learning Hours | 46 |